Instructions and/or (Options) to be executed by Specifier  

After making Selection(s), delete all unwanted content including this header and 

Change Entire Document Font Color to Black


Part 1 General
1.01 SUMMARY
A Provide all labor, material and equipment necessary to furnish and install aluminum terrace doors as shown on drawings and specifications herein.  Door shapes and accessories as specified and detailed shall establish the type of units and materials to be used to provide the functional performance and aesthetic requirements desired.  Details indicate the required depth and profile.

1.02 RELATED REQUIREMENTS

A Section 01 60 00 – Product Requirements

B Section 07 90 00 – Joint Sealers
C Section 08 70 00 – Hardware
D Section 08 80 00 – Glass and Glazing
1.03 REFERENCE STANDARDS.

A AAMA/WDMA/CSA 101/I.S.2/A440-08 “Standard/Specification for Windows, Doors, and Unit Skylights”

B AAMA 502 “Voluntary Specification for Field Testing of Newly Installed Fenestration Products"

C AAMA 611 "Voluntary Specification for Anodized Architectural Aluminum" 

D AAMA 701/702 "Voluntary Specification for Pile Weatherstripping and Replaceable Fenestration Weatherseals” 

E AAMA 1503 “Voluntary Test Method for Thermal Transmittance and Condensation Resistance of Windows, Doors and Glazed Wall Sections”

F AAMA 2603 “Voluntary Specification, Performance Requirements and Test Procedures for Pigmented Organic Coatings on Aluminum Extrusions and Panels”

G AAMA 2604 “Voluntary Specification, Performance Requirements and Test Procedures for High Performance Organic Coatings on Aluminum Extrusions and Panels”

H AAMA 2605 “Voluntary Specification, Performance Requirements and Test Procedures for Superior Performing Organic Coatings on Aluminum Extrusions and Panels” 

I ASTM E 90 “Standard Test Method for Laboratory Measurement of Airborne Sound Transmission Loss of Building Partitions”
J ASTM E 283 "Standard Test Method for Determining Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure Differences Across the Specimen" 

K ASTM E 330 "Standard Test Method for Structural Performance of Exterior Windows, Doors, Skylights, and Curtain Walls by Uniform Static Air Pressure Difference" 
L ASTM E413 “Classification for Rating Sound Insulation”

M ASTM E 547 "Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors, and Curtain Walls by Cyclic Static Air Pressure Differential" 
N ASTM E966 “Standard Guide for Field Measurements of Airborne Sound Insulation of Building Facades and Facade Elements”

O ASTM E1332 “Standard Classification for Determination of Outdoor-Indoor Transmission Class”
P ASTM E1425 “Standard Practice for Determining the Acoustical Performance of Windows, Doors, Skylight, and Glazed Wall Systems”
Q ASTM E1886 “Standard Test Method for Performance of Exterior Windows, Curtain Walls, Doors, and Impact Protective Systems Impacted by Missile(s) and Exposed to Cyclic Pressure Differentials”
R ASTM E1996 “Standard Specification for Performance of Exterior Windows, Curtain Walls, Doors, and Impact Protective Systems Impacted by Windborne Debris in Hurricanes”

S ASTM E 2190 "Standard Specification for Insulating Glass Unit Performance and Evaluation"
T ASTM F588 “Standard Test Methods for Measuring the Forced Entry Resistance of Window Assemblies, Excluding Glazing Impact” 
U NFRC 100 “Procedure for Determining Fenestration Product U-Factors” 
V NFRC 200 “Procedure for Determining Fenestration Product Solar Heat Gain Coefficient and Visible Transmittance at Normal Incidence”

W NFRC 500 “Procedure for Determining Fenestration Product Condensation Resistance Values”
1.04 PERFORMANCE REQUIREMENTS

A Performance Requirements:  As specified in Part 2 and with the following requirements

B Uniform Load Structural Test
1 With leaf in a closed position door shall be tested in accordance with ASTM-E-330. At a static air pressure difference of 65.0 pounds per square foot with pressure applied both positively and negatively.

2 Static air pressure difference shall be 1.5 times the design pressure used in AAMA/WDMA/CSA 101/I.S.2/A440-08 (1.5 is the factor used to provide a margin of safety in aluminum doors and is the minimum recommended by the AAMA).

3 At conclusion of test, there shall be no glass breakage; permanent damage to fasteners, hardware parts, support arms, or actuating mechanisms. Nor any other damage which would cause the door to be inoperable. Permanent deformation of any frame, leaf, or ventilator member shall not exceed 0.04% of its span.

C Air Infiltration

1 With leaf in a closed and locked position door shall be tested in accordance with ASTM-E283 and shall meet the following performance requirements.

a) Air infiltration on doors with less than 18 feet of operable sash crack perimeter shall not exceed 2.8 cfm per square foot of door area when tested in a static pressure drop of 1.57 psf (equivalent to 25 mph wind velocity) or 6.3 cfm total when tested at 6.24 psf (equivalent to 50-mph wind velocity). 

b) Air infiltration on doors with 18 or more feet of operable sash crack perimeter shall not exceed .05 cfm per square foot of door area at a static pressure drop of 1.57 psf or .15 cfm at 6.24psf.

D Water Resistance

1 All tests shall be conducted in accordance with ASTM E 331. No water shall pass the innermost plane of the [outswing] door when tested at a static air pressure difference of 15.0 psf (Out-swing), 6 psf (In-swing).

E Thermal Performance  For specific thermal performance and glazing, contact the manufacturer
1 When tested in accordance with AAMA-1503 or according to NFRC-100 the thermal transmittance due to conduction (Uc) shall not exceed .37 - .54 (Out-swing), .36-.54 (In-Swing) on the entire specimen.
2 When tested in accordance with NFRC-500 the Condensation Resistance (CR) shall not be less than 39-42 on the entire specimen.
F Force to Latch and Deadbolt: 

1 Testing shall be performed in accordance with ANSI/BHMA A156.2.  The maximum measured force required to fully engage the latch, applied perpendicular to the face of and in a direction tending to close the door leaf, and to fully engage the deadbolt, shall not exceed 15 lbf.
G Sound Transmission 
1 Sound Transmission Class (STC).  When tested in accordance with ASTM E1425, door shall perform to a minimum STC-35 (41).  Testing shall be performed in a NVLAP Certified Test Laboratory.

2 Outdoor Indoor Transmission Class (OITC).  When tested in accordance with ASTM E1332, door shall perform to a minimum of OITC-29 (32).  Testing shall be performed in a NVLAP Certified Test Laboratory.
1.05 QUALITY ASSURANCE
A All testing shall be performed by an independent architectural testing laboratory accredited by the American Architectural Manufactures Association (AAMA), the National Voluntary Laboratory Accreditation Program (NVLAP) and the International Conference of Building Officials (ICBO) and such other accreditation as may be required by state of local building regulations. 

B The manufacturer shall provide the architect and owner a notarized affidavit of compliance certifying that the doors furnished for this project are identical in every aspect of design, component parts (including sealants and the application thereof, reinforcing members, etc.) and fabrication techniques as the doors tested in the laboratory for which test reports have been furnished. 

1.06 SUBMITTALS
A Door manufacturer shall supply test reports from an AAMA- and NVLAP- accredited laboratory certifying compliance with performance specifications for each type of door supplied for this project.

B Door manufacturer shall supply product data for each type of door required, including:

1 Construction details and fabrication methods.

2 Data on hardware and accessories.

3 Recommendations for maintenance and cleaning of exterior surfaces.

C Before proceeding with the manufacture of doors, the door contractor shall submit complete shop drawings with installation details for the Architect’s approval. These drawings shall also show door elevations, details of all door sections, collateral materials, details of anchorage, associated hardware. 

D Door manufacturer shall submit three [3] samples of finish.

E Door manufacturer shall submit a copy of the product warranty to be applied to this project.

1.07 WARRANTY
A The manufacturer shall warrant the product against material defects or defects in manufacturing.  If a defect is discovered and brought to the attention of the Manufacturer, the defect will be corrected at no cost to the owner.  Warranty shall not be pro-rated.  Warranties requiring the owner to return doors to the factory for repair or replacement shall not be accepted.

1 Doors: warrant for Ten [10] years against defects in material or workmanship under normal use.

2 Insulating glass units: warrant seal for Ten [10] years against visual obstruction from film formation or moisture collection between internal glass surfaces, excluding that caused by glass breakage or abuse.

3 Finish: 

a) Organic finish conforming to AAMA 2605-05: warrant for Ten [10] years against chipping, peeling, cracking, chalking, or fading.

b) Organic finish conforming to AAMA 2604-05: warrant for Five [5] years against chipping, peeling, cracking, chalking, or fading.

c) Organic finish conforming to AAMA 2603-02: warrant for One [1] years against chipping, peeling, or cracking.

Part 2 Products
2.01 MANUFACTURER

A Basis of Design:  St. Cloud Window, Inc., 390 Industrial Blvd. Sauk Rapids, MN.  Phone: 800-383-9311 Fax: 320-255-1513
1 SCW3000-TD – Architectural Terrace Door
B No substitutions will be accepted.

C Terminology used herein may include reference to that manufacturer’s proprietary products.  Such references shall be construed only for the purpose of establishing the quality of materials and workmanship to be applied under this section, and shall not be construed as limiting competition.  

D Requests for substitutions of products or manufacturers other than the Base Bid must be submitted to the Architect Ten [10] business days prior to the bid date.  Requests for substitutions must demonstrate that the product seeking approval meets or exceeds the design and performance specifications of the Base Bid.  Products not pre-approved by the Architect in writing via addendum will not be accepted. Substitutions must comply with the requirements of section 01 60 00 – Product Requirements.  

2.02 MATERIALS

A Aluminum Extrusions

1 Shall be accurately extruded aluminum alloy 6063-T6.

2 All leaf and frame members shall have a minimum wall thickness of 0.125.
3 Overall frame depth shall be 3.00”

4 ADA-compliant sill in lieu of standard sill
B Thermal Barrier

1 Provide continuous extruded high performance nylon 6/6 polyamide with multi- directional 25% glass fiber reinforcing as manufactured by Technoform or equal. All polyamide material must be from a minimum of 90% virgin components, with a maximum 10% pre-consumer regrind. Aluminum components shall be mechanically crimped into cross knurled cavities and obtain a minimum composite shear value of 800 pounds for a 4” section. Rolled in PVC, single directional glass fiber reinforced polyamide and pour and de-bridge Urethane thermal break systems will not be accepted.
C Weather-stripping

1 A UV-resistant rubberized skin encapsulating closed cell foam shall provide a continuous compression door seal to be contained in secured extruded ports at all frame and vent perimeter locations.
D Hardware 
1 See Section 1.02.C Related Requirements.
2 Active door leaf shall be actuated with a lever handle with multipoint locking mechanism and shall include a keyed thumb-turn deadbolt.

3 Active door leaf shall be actuated with a lever handle locking mechanism engaging corner-drive multi-point locking in the jamb, sill and head of the master frame and shall include a thumb-turn deadbolt. 
4 Hinges shall be high performance 2-wing adjustable aluminum with stainless steel pins.

5 Astragal in French style fenestrations shall be fixed (moving)

E Glazing
1 All glazing shall comply with the performance requirements outlined in section 08800 – Glass and Glazing.
2 All doors to be fully factory glazed with 1” (.5”, 1.25”, 1.5”) overall thickness insulated glass.

3 All glass shall be glazed with removable stops and shall be replaceable without dismantling the leaf or frame members. 

4 A continuous polyshim tape will be used on the exterior glazing leg and a continuous silicone cap bead over the polyshim bonding to the glass edge to prevent moisture form intruding into the system.  A continuous rubberized vinyl compression wedge to be used on the interior glazing stops. 

5  Insulated glass units nominal glass thickness and type shall be:
a) Exterior glass lite

i) Thickness: 1/4" 
ii) Tint:  clear 

iii) Coating: none (low E - Cardinal 272) (low E - Cardinal 366)
iv) Type:  tempered (laminated)
b) Air Space

i) 1/2” Air Filled (90% Argon Filled)
c) Interior glass lite

i) Thickness: 1/4"
ii) Tint: clear (pattern #62 obscure)
iii) Type: tempered (laminated)
iv) Coating: none (low E – Cardinal i89 on #4 surface) 
F Muntins
1 Muntin grids shall be extruded aluminum with exposed surfaces finished to match door exterior and interior colors.
2 Muntin grids shall be applied to the interior and exterior of the glass lite to simulate a true-divided lite.
3 Insulated glass units shall incorporate grids between glass to simulate a true-divided lite.
4 Grid patterns to be designated by architect.
G
Side lights and Transoms

Side light and transom frames shall match doors in frame depth and mull directly to door 
frames.  Sightline dimensions, muntin profiles, and glazing shall be consistent with other 
windows and doors on the project.


2.03 FABRICATION
A Door frame shall consist of two separate frames permanently interlocked by a rolled thermal strut thermal-barrier.  All joints of the frame shall be mitered and interlocked by means of spring-loaded stainless steel pin self-aligning corner keys which shall be contained in dedicated channels that are integral extrusion profiles in all frame members.  All sharp milled edges shall be de-burred and made smooth.  All corner joints shall be joined neatly and sealed with silicone in a manner to provide weather-tight connection.
B Door leaf shall consist of two separate frames permanently interlocked by a rolled thermal strut thermal-barrier.  All joints of the leaf shall be mitered, interlocked by means of spring-loaded stainless steel pin self-aligning corner keys which shall be contained in dedicated channels that are integral extrusion profiles in all leaf members.  All sharp milled edges shall be de-burred and made smooth.  All corner joints shall be joined neatly and sealed with silicone in a manner to provide weather-tight connection.
2.04 FINISH

A Interior:  (Choose only one of the following and delete all remaining verbiage including this note)
1 Anodized Finish:  Class II (etched and anodized to 0.4 mil), conforming to AAMA 611-98
a) Color to be Clear

2 Anodized Finish:  Class I (etched and anodized to 0.7 mil), conforming to AAMA 611-98
a) Color to be: Clear, Black, Dark Bronze, Med. Bronze, Lt. Bronze, Champagne
3 Polyvinylelidene Fluoride PVDF Organic Coatings:   Finish shall be 70% fluoropolymer (PVDF) organic coating in a color selected by Architect. Applied coatings shall meet or exceed AAMA 2605-05, including 10 years Florida exposure and 4000 hours humidity tests
a) Color to be:  
4 Polyvinylelidene Fluoride PVDF Organic Coatings:  Finish shall be 50% fluoropolymer (PVDF) organic coating in a color selected by Architect.  Applied coatings shall meet or exceed AAMA 2604 -05, including 5 years Florida exposure and 3000 hours humidity tests 

a) Color to be: 
5 Pigmented Organic Coatings:  Finish shall be Baked Enamel organic coating in a color selected by Architect.  Applied coatings shall meet or exceed AAMA 2603 -02, including 1 year Florida exposure and 1500 hours humidity tests.

a)  Color to be:  
B Exterior:  (Choose only one of the following and delete all remaining verbiage including this note)
1 Anodized Finish:  Class II (etched and anodized to 0.4 mil), conforming to AAMA 611-98

a) Color to be Clear

2 Anodized Finish:  Class I (etched and anodized to 0.7 mil), conforming to AAMA 611-98

a) Color to be: Clear, Black, Dark Bronze, Med. Bronze, Lt. Bronze, Champagne
3 Polyvinylelidene Fluoride PVDF Organic Coatings:   Finish shall be 70% fluoropolymer (PVDF) organic coating in a color selected by Architect. Applied coatings shall meet or exceed AAMA 2605-05, including 10 years Florida exposure and 4000 hours humidity tests

a) Color to be:  
4 Polyvinylelidene Fluoride PVDF Organic Coatings:  Finish shall be 50% fluoropolymer (PVDF) organic coating in a color selected by Architect.  Applied coatings shall meet or exceed AAMA 2604 -05, including 5 years Florida exposure and 3000 hours humidity tests 

a) Color to be:  
5 Pigmented Organic Coatings:  Finish shall be Baked Enamel organic coating in a color selected by Architect.  Applied coatings shall meet or exceed AAMA 2603 -02, including 1 year Florida exposure and 1500 hours humidity tests.

a)  Color to be:  
Part 3 Erection

3.01 INSTALLATION

A All door and related door components shall be installed in accordance with requirements of the owner and the approved shop drawings of the Manufacturer.  Installation shall be by a contractor who is experienced and who shall document at least one other projects of similar nature and scope for which the door products were successfully installed. 

B All materials shall be erected plumb, level and true, relative to the building structure.  The maximum variation from plumb and level shall not exceed 1/8” (plus or minus) over ten feet.

C Approved insulation materials shall be installed in the frame cavity on the interior portion of the door frame.  Area adjacent to the exterior of the door frame shall remain uninsulated.  The door installer shall use caution in the insulation operation to avoid overlapping insulation materials across the thermal-barrier connector thus bridging the two separate frame members.

3.02 CAULKING

A A grade “A” type neutral cure silicone caulking compound:  Pecora, Tremco, Vulkem, or equal as approved by the Architect, shall be applied per the installation drawings and details at all points where the aluminum master frame and/or panning intersects the masonry or other exterior wall finish.  The caulking material shall be applied in a manner which insures a continuous air- and water-tight perimeter seal.  Color to match the color of the aluminum doors unless specified otherwise by the Architect.

3.03 TESTING

A Laboratory Testing

1 At the discretion of the owner, one or a number of door units produced for the project shall be tested by a certified testing laboratory to verify that glass, glazing, hardware and finish are in conformance to the project specification. Should any component of the test specimen fail to conform to project specification, action shall be taken by the window manufacture to correct each deficiency for every window on the project at no additional cost to the owner.
2 The owner shall assume the cost of the initial verification testing. However, should product be found to be non-compliant, the manufacture shall reimburse the owner for the cost of the initial test. At the architect’s discretion, subsequent testing may be required and the cost of this test shall be borne by the manufacture.

B Field Testing

1 On-site testing shall be conducted at owner’s discretion and expense. Up to three test specimens shall be selected by owner or architect.

2 On-site testing shall be conducted for air infiltration and water leakage as specified in section 1.04 – A and b, by an AAMA-certified architectural testing laboratory in accordance with AAMA 502, Method B.

3 If a test specimen shall fail any aspect of the field test, it shall be repaired or replaced and re-tested. At the architect’s direction, up to three (3) additional doors may be tested. Upon completion of re-testing, all doors shall be repaired or replaced in the same manner as the test specimen (s) to assure compliance with project performance specification.

C
The cost of re-testing and all subsequent repairs and other associated expenses shall be borne by the door manufacturer and/or installation contractor.

3.04 ADJUSTMENTS, PROTECTION, AND CLEANING

A After installation, the erector shall remove all sealants, caulking and other misplaced materials from all surfaces, including adjacent work. The door frame, leaf and glass shall be cleaned thoroughly with materials and methods recommended by the door and glass manufacturers and shall not cause any defacement of the work.

B Installer shall make any and all adjustments to door leaf and hardware to cause the operating leaf to function properly and in accordance with the manufactures standards.
C Protection of glass and door materials: Protect from contact with contaminating substances resulting from construction operations. After installation and cleaning of doors by door contractor, the general contractor shall be responsible for maintaining the cleanliness and protection of the door from damage from other trades.  

D Remove all sealant, caulking and other misplaced materials from all surfaces, including adjacent work. The door frames, casing, and glass shall be thoroughly cleaned with materials and methods recommended by the door and glass manufacturer and shall not cause any defacement of the work.

E The general contractor shall be responsible for the protection of the work from damage by other trades. 

SECTION 08 13 16.13 - Aluminum Terrace Doors                                                                      09/2018

